## Report Template
Date | Company | Stage | AssetName | Asset Ref | Asset criticality score | HazardRef | HazardousEvent | Risk Score | DWICategory | Control Measures | Comments
|  | Catchment |  |  | Not applicable at the catchment stage | H063 | Sufficiency risk from competing/shared water use, affecting source availability or abstraction reliability
|  | Catchment |  |  | Not applicable at the catchment stage | H063 | Sufficiency risk due to hydrological and extreme weather constraints affecting source availability
|  | Catchment |  |  | Not applicable at the catchment stage | H063 | Sufficiency risk due to raw water quality or treatability constraints at source (refer to regulation 28 reported parameters).
|  | Catchment |  |  | Not applicable at the catchment stage | H063 | Sufficiency risk from regulatory or compliance constraints affecting source availability or abstraction operations
|  | Abstraction |  |  | Not applicable | H063 | Sufficiency carried forward risk from upstream catchment stage
|  | Abstraction |  |  | Not applicable | H063 | Sufficiency risk from restricted access or site security
|  | Abstraction |  |  | Not applicable | H063 | Sufficiency risk from local hydrological/weather constraints affecting river /reservoir intake or borehole operation
|  | Abstraction |  |  | Not applicable | H063 | Sufficiency risk due to single raw water source or abstraction dependency
|  | Abstraction |  |  | Not applicable | H063 | Sufficiency risk from raw water quality requiring restriction, shutdown or blending (use water quality regulation 28 data)
|  | Abstraction |  |  | Not applicable | H063 | Sufficiency risk from loss of monitoring, telemetry, alarms or compliance evidence
|  | Abstraction |  |  | Criticality score needed | H063 | Sufficiency risk from asset failure, deterioration, limited redundancy or slow recovery
|  | Abstraction |  |  | Not applicable | H063 | Sufficiency risk from staffing resources and competence
|  | Abstraction |  |  | Not applicable | H063 | Sufficiency risk from Operational Technology, telemetry, SCADA, PLC or cyber failure
|  | Abstraction |  |  | Not applicable | H063 | Sufficiency risk from loss or poor quality of power, standby power, UPS or fuel
|  | Treatment |  |  | Not applicable | H063 | Sufficiency carried forward risk from upstream abstraction stage
|  | Treatment |  |  | Not applicable | H063 | Sufficiency risk due to treatability constraints at the treatment stage causing water quality risk(s) (refer to regulation 28 reported parameters).
|  | Treatment |  |  | Not applicable | H063 | Sufficiency risk from inadequate capacity for onsite raw water storage
|  | Treatment |  |  | Use treatment process criticality score | H063 | Sufficiency risk from deficiencies in raw water chemical dosing control or capacity, asset and process conditions.
|  | Treatment |  |  | Not applicable | H063 | Sufficiency risk due to Inadequate onsite chemical storage resilience to supply disruption
|  | Treatment |  |  | Use treatment process criticality score | H063 | Sufficiency risk due to deficiencies in Clarification control or capacity, asset and process conditions
|  | Treatment |  |  | Use treatment process criticality score | H063 | Sufficiency risk due to deficiencies in Filtration control or capacity, asset and process conditions
|  | Treatment |  |  | Use treatment process criticality score | H063 | Sufficiency risk due to deficiencies in any secondary filtration process required by the water treatment works
|  | Treatment |  |  | Use treatment process criticality score | H063 | Sufficiency risk due to deficiencies in any carbon processes GAC or PAC used
|  | Treatment |  |  | Use treatment process criticality score | H063 | Sufficiency risk due to deficiencies in any additional treatment process used such as ion exchange or advanced oxidation control and asset conditions
|  | Treatment |  |  | Use treatment process criticality score | H063 | Sufficiency risk from inadequate asset condition or capacity of any disinfection zone used, disinfection main, chlorine contact tank, UV arrangement.
|  | Treatment |  |  | Use Treated water storage asset scoring | H063 | Sufficiency risk from inadequate asset condition or storage capacity of any final water tanks for onsite storage
|  | Treatment |  |  | Use Treated water, conveying water offsite scoring | H063 | Sufficiency risk from inadequate asset condition or sizing of any final water pumps or trunk main outlets and valves used for carrying water offsite
|  | Treatment |  |  | Not applicable | H063 | Sufficiency risk from inadequate power supply resilience to the treatment site
|  | Storage |  |  | Not applicable | H063 | Sufficiency carried forward risk from upstream treatment stage
|  | Storage |  |  | Not applicable | H063 | Sufficiency risk due to water quality risk(s) at the storage stage (refer to regulation 28 reported parameters).
|  | Storage |  |  | Not applicable | H063 | Sufficiency risk from inadequate asset condition or capacity of any pipework and valves
|  | Storage |  |  | Use Treated water storage asset scoring | H063 | Sufficiency risk from inadequate asset capacity of any service reservoir tank (turnover and headroom)
|  | Storage |  |  | Not applicable | H063 | Sufficiency risk from inadequate asset condition of electrical and mechanical components.
|  | Storage |  |  | Not applicable | H063 | Sufficiency risk from inadequate site security
|  | Storage |  |  | Use Treated water storage asset scoring | H063 | Sufficiency risk from inadequate asset capacity of any service reservoir tank or individual cell reducing upstream operational maintenance.
|  | Storage |  |  | Use Treated water storage asset scoring | H063 | Sufficiency risk from inability to bypass this asset for maintenance or repair.
|  | Distribution |  |  | Not applicable | H063 | Sufficiency carried forward risk from upstream storage stage
|  | Distribution |  |  | Not applicable | H063 | Sufficiency risk due to water quality risk(s) at the distribution stage (refer to regulation 28 reported parameters).
|  | Distribution |  |  | Not applicable | H063 | Sufficiency risk from staffing resources and competence
|  | Distribution |  |  | Not applicable | H063 | Sufficiency risk from inadequate power supply resilience in the network
|  | Distribution |  |  | Use Distribution pumps, mains and valves (network) scoring | H063 | Sufficiency risk from inadequate asset condition or sizing of any water pumps or mains and valves used for distributing water
|  | Distribution |  |  | Not applicable | H063 | Sufficiency risk due to loss of monitoring and telemetry
|  | Distribution |  |  | Not applicable | H063 | Sufficiency risk due to hydrological and extreme weather constraints affecting asset functionality or access
|  | Distribution |  |  | Use Distribution pumps, mains and valves (water pumping station) scoring | H063 | Sufficiency risk from inadequate asset condition or capacity of any pipework, pumps and valves at a water pumping station
|  | Distribution |  |  | Not applicable | H063 | Sufficiency risk from third party use via hydrants or other connections or industrial businesses
|  | Distribution |  |  | Not applicable | H063 | Sufficiency risk due to high demand caused by consumer behavioural usage